Standard Operating Procedure: Measurement of Uncertainty (MU) in THC Compliance Testing

[RECOMMENDATION FROM OTHER STATES]

1.	Purpose

To establish procedures for understanding and applying Measurement of Uncertainty (MU) in THC compliance testing as required by USDA regulations and state hemp programs.

2.	Scope

This SOP applies to all NYS licensed hemp growers interpreting THC compliance test results and understanding the acceptable hemp THC level calculation.

3.	Prerequisites

Required prerequisites:
• Understanding of THC compliance testing
• Access to laboratory COA (Certificate of Analysis)
• Knowledge of Total THC calculation
• Relationship with testing laboratory

4.	Responsibilities

Key personnel with primary roles:
• License Holder: Understand MU implications; make harvest decisions
• Person Responsible for Management: Review test results; coordinate retesting if needed
• Testing Laboratory: Calculate and report MU with test results

5.	Materials

Required materials:
• Certificate of Analysis (COA) from testing laboratory
• Understanding of Total THC calculation
• State compliance threshold documentation
• Calculator for verification

6.	Procedure

6.1 Understanding Measurement of Uncertainty
   • MU is a statistical parameter characterizing measurement dispersion
   • Laboratories MUST report MU with THC concentration results
   • MU accounts for variability in testing process
   • USDA requires MU to be included in compliance determination

6.2 Total THC Calculation
   Total Potential Delta-9 THC = Delta-9 THC + (Delta-9 THCA × 0.877)
   
   The 0.877 conversion factor accounts for molecular weight difference
   when THCA converts to THC through decarboxylation

6.3 Acceptable Hemp THC Level Determination
   • Hemp is COMPLIANT when:
     Total THC concentration + MU distribution includes 0.3% or less
   
   Example:
   • Test result: 0.28% Total THC
   • MU: ± 0.04%
   • Range: 0.24% to 0.32%
   • Since range includes 0.3%, sample is COMPLIANT

6.4 Interpreting Laboratory Results
   a. Review COA for:
      • Delta-9 THC concentration
      • THCA concentration
      • Total THC calculation
      • Measurement of Uncertainty
   b. Verify laboratory calculated Total THC correctly
   c. Confirm MU is reported
   d. Determine if result is compliant

6.5 Compliance Scenarios
   COMPLIANT:
   • Total THC = 0.25%, MU = ±0.03% → Range 0.22-0.28% ✓
   • Total THC = 0.31%, MU = ±0.02% → Range 0.29-0.33% ✓
     (Range includes 0.3%)
   
   NON-COMPLIANT:
   • Total THC = 0.35%, MU = ±0.02% → Range 0.33-0.37% ✗
     (Entire range above 0.3%)

6.6 If Results Are Non-Compliant
   a. Review results with laboratory
   b. Consider requesting re-test or re-sample (if allowed)
   c. If still non-compliant, proceed to disposal/remediation
   d. Do NOT harvest non-compliant hemp
   e. Report to regulatory authority as required

6.7 Record Keeping
   • Retain all COAs with MU documentation
   • Keep records of compliance determinations
   • Document any retesting
   • Maintain for minimum 3 years

7.	References

• USDA AMS Laboratory Testing Guidelines: https://www.ams.usda.gov/rules-regulations/hemp/information-laboratories/lab-testing-guidelines
• USDA AMS Hemp FAQ: https://www.ams.usda.gov/rules-regulations/hemp/frequently-asked-questions-faq
• 7 CFR Part 990 - Domestic Hemp Production Program: https://www.ecfr.gov/current/title-7/subtitle-B/chapter-IX/part-990
• NYS Hemp Program: https://agriculture.ny.gov/hemp
• ACS Laboratory - USDA Hemp Testing Requirements: https://www.acslab.com/compliance/hemp-testing-usda-compliant-testing-requirements-explained

8.	Definitions

• Measurement of Uncertainty (MU): Statistical parameter characterizing the dispersion of values that could reasonably be attributed to the measured quantity
• Total THC: Delta-9 THC + (THCA × 0.877) on dry weight basis
• Delta-9 THC: Primary psychoactive cannabinoid in cannabis
• THCA: Tetrahydrocannabinolic acid, precursor to THC
• COA: Certificate of Analysis from testing laboratory
• Decarboxylation: Process converting THCA to THC through heat
• Acceptable Hemp THC Level: When Total THC + MU distribution includes 0.3% or less

9.	Sources

Information for this SOP was obtained from:
• USDA AMS Laboratory Testing Guidelines
  https://www.ams.usda.gov/rules-regulations/hemp/information-laboratories/lab-testing-guidelines
• USDA Hemp Frequently Asked Questions
  https://www.ams.usda.gov/rules-regulations/hemp/frequently-asked-questions-faq
• ACS Laboratory - Hemp Testing USDA Compliant Requirements
  https://www.acslab.com/compliance/hemp-testing-usda-compliant-testing-requirements-explained
• Encore Labs - Hemp Testing Guidelines from USDA
  https://encorelabs.com/hemp-testing-guidelines-from-the-usda/

Related SOPs and Cross-References

Category: TESTING - RECOMMENDATION FROM OTHER STATES

The following SOPs are related to this procedure:

SOP-005: Pre-Harvest Sampling and THC Testing - NYS testing procedures

SOP-011: DEA Laboratory Registration Compliance (OTHER STATES) - Lab requirements - recommendation from other states

SOP-007: Disposal and Remediation - NYS procedures when MU affects compliance

Note: This SOP is part of a comprehensive hemp compliance system. SOPs marked "(OTHER STATES)" contain recommendations from other state programs and are suggestions, not NYS requirements. Always review related SOPs to ensure complete compliance.