Standard Operating Procedure: Dehumidification System Operation

1.	Purpose

To establish standardized procedures for operating and maintaining dehumidification systems to control humidity levels, prevent mold/mildew, and ensure energy-efficient operation in compliance with NYS OCM standards.

2.	Scope

This SOP applies to all personnel responsible for environmental control and equipment maintenance in cannabis cultivation facilities.

3.	Prerequisites

Required prerequisites:
• Understanding of optimal humidity ranges for cannabis
• Dehumidification equipment installed and operational
• Training on equipment operation
• OCM Section 125.1(c)(2) requirements reviewed

4.	Responsibilities

Key personnel:
• Cultivation Manager: Sets humidity parameters by growth stage
• Facility Technician: Monitors and maintains equipment
• Cultivation Staff: Reports humidity anomalies

5.	Materials

Required materials:
• Commercial dehumidification units (Energy Star certified recommended)
• Humidity sensors/hygrometers
• Condensate drainage systems
• Cleaning supplies for unit maintenance
• Monitoring and logging equipment

6.	Procedure

6.1 Humidity Target Parameters
   a. Clone/Seedling Stage: 70-80% RH
   b. Vegetative Stage: 50-70% RH
   c. Early Flowering: 45-55% RH
   d. Late Flowering: 40-50% RH (critical for mold prevention)
   e. Drying Room: 45-55% RH

6.2 Equipment Selection and Compliance
   a. Per Section 125.1(c)(2), select equipment with:
      - High energy efficiency ratings
      - Appropriate capacity for space (pints/day)
      - Low-GWP refrigerants (if applicable)
   b. Choose Energy Star certified units when available
   c. Size units to handle peak humidity loads
   d. Consider redundancy for critical areas

6.3 System Setup and Configuration
   a. Position units for optimal air circulation
   b. Connect to drainage system or collection reservoirs
   c. Set humidity thresholds on controllers
   d. Integrate with facility monitoring system
   e. Test operation before use with plants

6.4 Daily Operation Monitoring
   a. Check humidity readings in all cultivation areas
   b. Verify dehumidifiers are running when needed
   c. Empty reservoirs if not connected to drain
   d. Monitor for unusual sounds or performance issues
   e. Document readings in environmental log

6.5 Humidity Control Strategies
   a. Coordinate with HVAC for balanced climate control
   b. Ensure adequate airflow to prevent dead spots
   c. Time dehumidification with light cycles
   d. Consider plant transpiration patterns
   e. Adjust settings based on canopy development

6.6 Mold and Mildew Prevention
   a. Maintain humidity below 60% during flowering
   b. Increase airflow through canopy
   c. Monitor plants daily for signs of mold
   d. Lower humidity immediately if mold detected
   e. Remove and dispose of affected plant material

6.7 Routine Maintenance
   a. Weekly:
      - Clean air filters
      - Check condensate drain lines
      - Verify humidity sensor accuracy
   b. Monthly:
      - Deep clean coils and reservoirs
      - Inspect for mold growth in unit
      - Check refrigerant levels (if applicable)
   c. Quarterly:
      - Professional service inspection
      - Calibrate humidity sensors
      - Efficiency performance check

6.8 Condensate Water Management
   a. Direct condensate to appropriate drainage
   b. Do not use condensate water for plant irrigation
   c. Treat condensate as wastewater
   d. Prevent standing water accumulation
   e. Clean drain lines to prevent clogs

6.9 Documentation
   a. Log daily humidity readings
   b. Record equipment runtime hours
   c. Document maintenance activities
   d. Track energy consumption
   e. Report issues to facility management

7.	References

• NYS OCM Regulations Section 125.1(c)(2) - Dehumidification Standards
• Energy and Environmental Plan Guidance (OCM)
• Medical Cannabis Home Cultivation Guide
• Energy Star Equipment Guidelines

8.	Definitions

• RH: Relative Humidity (percentage of moisture in air)
• Transpiration: Water release from plants
• Condensate: Water collected from air by dehumidification
• VPD: Vapor Pressure Deficit (advanced humidity metric)

9.	Sources

Information obtained from:
• NYS Office of Cannabis Management: https://cannabis.ny.gov/
• Energy and Environmental Plan Guidance (OCM, November 2024)
• Medical Cannabis Home Cultivation Guide (OCM)

Related SOPs and Cross-References

Category: ENVIRONMENT - NYS OCM

The following SOPs are related to this procedure:

CULT-008: HVAC Refrigerant Compliance - Climate systems

CULT-015: Air Quality Ventilation - Air management

CULT-006: Flowering Phase - Humidity in flower

Note: This SOP is part of a comprehensive cannabis compliance system. SOPs marked "(OTHER STATES)" contain recommendations from other state programs and are suggestions, not NYS OCM requirements.