Standard Operating Procedure: Odor Control

1.	Purpose

This Standard Operating Procedure establishes guidelines for controlling and mitigating odors from cannabis cultivation operations in compliance with NYS Office of Cannabis Management (OCM) regulations and local ordinance requirements.

2.	Scope

This SOP applies to all cultivation staff and facilities personnel involved in odor control system operation, maintenance, and monitoring at licensed cannabis cultivation facilities in New York State.

3.	Prerequisites

• Understanding of OCM odor control requirements
• Training on odor control equipment operation
• Knowledge of carbon filtration systems
• Familiarity with local odor ordinances
• Understanding of HVAC integration with odor control

4.	Responsibilities

Cultivation Manager:
• Ensure odor control compliance
• Coordinate with local authorities on complaints
• Oversee system performance monitoring
• Approve system modifications

Facilities Manager:
• Maintain odor control equipment
• Schedule filter replacements
• Monitor system performance
• Address equipment failures promptly

Cultivation Staff:
• Report odor control issues immediately
• Follow protocols during high-odor activities
• Maintain cleanliness to reduce odor sources
• Document observations during routine checks

Compliance Officer:
• Track odor complaints
• Document compliance efforts
• Coordinate with local inspectors
• Maintain complaint response records

5.	Materials

• Activated carbon filters
• HEPA filtration units
• Negative pressure monitoring equipment
• Odor neutralizing agents (if approved)
• Sealed containers for waste
• Air quality monitoring devices
• Replacement filter inventory
• Maintenance tools and supplies
• Documentation logs

6.	Procedure

6.1 Odor Control System Design
• Install activated carbon filtration on all exhaust air
• Maintain negative pressure in cultivation areas
• Ensure proper sizing of filtration for air volume
• Include redundant systems for critical areas
• Design for flowering room higher odor loads
• Consider ozone generators where permitted and safe

6.2 Carbon Filter Management
• Inspect carbon filters monthly
• Replace filters based on:
  - Manufacturer recommendations
  - Odor breakthrough detection
  - Pressure differential readings
  - Maximum 12-month service life
• Use filters rated for cannabis VOC removal
• Maintain replacement filter inventory
• Document all filter changes

6.3 Negative Pressure Maintenance
• Maintain cultivation rooms at negative pressure
• Monitor pressure differentials daily
• Target -0.02 to -0.05 inches water column
• Verify door seals and dampers function properly
• Address air leaks immediately
• Test pressure during door operations

6.4 High-Odor Activity Protocols
• Increase ventilation during:
  - Harvesting
  - Trimming
  - Drying/curing (if applicable)
  - Waste handling
• Use portable carbon filtration when needed
• Seal waste in odor-proof containers immediately
• Schedule activities to minimize odor impact
• Avoid high-odor activities during complaint-prone times

6.5 Odor Monitoring
• Conduct perimeter odor checks daily
• Document wind direction and conditions
• Note any detectable odors at property line
• Use odor intensity scale for consistency
• Increase monitoring during flowering peak
• Respond to complaints within 24 hours

6.6 Complaint Response Protocol
• Log all odor complaints with:
  - Date, time, and caller information
  - Weather conditions at time of complaint
  - Facility operations at time of complaint
  - Response actions taken
• Investigate source and contributing factors
• Implement corrective actions
• Follow up with complainant
• Document resolution
• Report to OCM as required

6.7 Documentation Requirements
• Maintain filter replacement log
• Record daily pressure readings
• Document perimeter monitoring results
• Keep complaint response records
• Track system maintenance
• Retain records for minimum 5 years

7.	References

• NYS OCM Adult-Use Cultivation Guidance
• NYS OCM Energy and Environmental Plan Guidance
• Local zoning and odor ordinances
• Source: https://cannabis.ny.gov/

8.	Definitions

Activated Carbon: A highly porous form of carbon used to adsorb odorous volatile organic compounds (VOCs) from air streams.

Negative Pressure: An air pressure condition where a space has lower pressure than surrounding areas, causing air to flow inward rather than outward.

VOC (Volatile Organic Compound): Organic chemicals that easily evaporate at room temperature, including terpenes responsible for cannabis odor.

Pressure Differential: The difference in air pressure between two spaces, measured in inches of water column (in. w.c.).

Odor Breakthrough: The point at which carbon filters can no longer effectively capture odorous compounds, allowing them to pass through.

Related SOPs and Cross-References

Category: ENVIRONMENT - NYS OCM

The following SOPs are related to this procedure:

CULT-015: Air Quality Ventilation - Air systems

GEN-049: Location Buffer Zone (OTHER STATES) (OTHER STATES) - Community compliance

CULT-008: HVAC Refrigerant Compliance - HVAC integration

Note: This SOP is part of a comprehensive cannabis compliance system. SOPs marked "(OTHER STATES)" contain recommendations from other state programs and are suggestions, not NYS OCM requirements.