Standard Operating Procedure: Preventive Maintenance

1.	Purpose

This Standard Operating Procedure establishes the preventive maintenance program for equipment and facilities to ensure reliable operation, prevent failures, and maintain compliance with NYS Office of Cannabis Management (OCM) requirements.

2.	Scope

This SOP applies to all production equipment, facility systems, and utilities at licensed cannabis facilities in New York State that require regular maintenance to ensure proper operation.

3.	Prerequisites

• Understanding of equipment operation
• Knowledge of maintenance requirements
• Training on maintenance procedures
• Access to maintenance management system
• Familiarity with equipment manuals

4.	Responsibilities

Facilities/Maintenance Manager:
• Develop maintenance program
• Schedule maintenance activities
• Manage maintenance resources
• Ensure compliance with regulations

Maintenance Technicians:
• Perform maintenance procedures
• Document maintenance activities
• Report equipment issues
• Maintain spare parts inventory

Equipment Operators:
• Perform daily equipment checks
• Report malfunctions immediately
• Follow operating procedures
• Support maintenance activities

Quality Assurance:
• Review maintenance records
• Assess product impact of failures
• Audit maintenance compliance
• Approve maintenance procedures

5.	Materials

• Maintenance management system/software
• Equipment manuals and specifications
• Maintenance tools and equipment
• Spare parts inventory
• Lubricants and consumables
• Personal protective equipment
• Work order forms
• Maintenance logs and checklists

6.	Procedure

6.1 Equipment Inventory
• Maintain inventory of all equipment requiring maintenance
• Include for each item:
  - Equipment identification number
  - Description and model
  - Location
  - Manufacturer
  - Installation date
  - Criticality rating
  - Maintenance requirements
• Update inventory when equipment added/removed

6.2 Criticality Assessment
• Rate equipment criticality:
  HIGH: Failure directly affects product quality/safety
  - Priority for maintenance resources
  - Shorter maintenance intervals
  - Spare parts on hand
  
  MEDIUM: Failure may affect operations
  - Standard maintenance schedule
  - Key spare parts available
  
  LOW: Failure has minimal impact
  - Extended maintenance intervals
  - Parts ordered as needed
• Review criticality ratings annually

6.3 Maintenance Schedule Development
• Establish maintenance frequencies based on:
  - Manufacturer recommendations
  - Equipment criticality
  - Operating conditions
  - Historical performance
  - Regulatory requirements
• Create maintenance schedule/calendar
• Balance workload across periods
• Account for production schedules

6.4 Types of Maintenance Activities
• PREVENTIVE: Scheduled routine maintenance
  - Inspections
  - Cleaning
  - Lubrication
  - Adjustments
  - Component replacement
  
• PREDICTIVE: Based on equipment condition
  - Vibration analysis
  - Thermal imaging
  - Oil analysis
  
• CORRECTIVE: Repair of failures
  - Emergency repairs
  - Unplanned downtime
  - Root cause analysis required

6.5 Maintenance Procedures
• Develop procedures for each equipment type
• Include:
  - Safety precautions
  - Required tools and parts
  - Step-by-step instructions
  - Acceptance criteria
  - Documentation requirements
• Follow lockout/tagout procedures
• Use equipment-specific checklists

6.6 Work Order System
• Generate work orders for all maintenance
• Work order includes:
  - Equipment identification
  - Maintenance type
  - Description of work
  - Required parts/materials
  - Assigned technician
  - Target completion date
• Track work order status
• Close with completion documentation

6.7 Maintenance Documentation
• Record for each maintenance activity:
  - Date and time
  - Equipment identification
  - Work performed
  - Parts used
  - Technician name
  - Equipment status after maintenance
  - Any issues identified
• Maintain maintenance history for each equipment
• Retain records per document control SOP

6.8 Spare Parts Management
• Identify critical spare parts
• Maintain minimum inventory levels
• Track parts usage
• Reorder before stockout
• Store parts properly
• Use FIFO (first in, first out)
• Dispose of obsolete parts

6.9 Equipment Failure Response
• Report failures immediately
• Assess impact on production/quality
• Implement interim controls
• Prioritize repairs based on criticality
• Document failure and repair
• Investigate root cause
• Update maintenance program if needed

6.10 Maintenance Metrics
• Track key performance indicators:
  - Planned vs. unplanned maintenance ratio
  - Work order completion rate
  - Equipment downtime
  - Maintenance costs
  - Mean time between failures (MTBF)
• Review metrics monthly
• Report to management
• Use data for continuous improvement

7.	References

• NYS OCM GMP Guidance
• Equipment manufacturer maintenance manuals
• OSHA Lockout/Tagout Requirements
• Source: https://cannabis.ny.gov/

8.	Definitions

Preventive Maintenance: Scheduled maintenance performed to prevent equipment failure and maintain optimal performance.

Predictive Maintenance: Maintenance scheduled based on equipment condition monitoring rather than fixed time intervals.

Corrective Maintenance: Maintenance performed to restore equipment to working condition after a failure.

Mean Time Between Failures (MTBF): Average time between equipment failures, indicating reliability.

Lockout/Tagout: Safety procedure ensuring equipment is de-energized and cannot be restarted during maintenance.

Related SOPs and Cross-References

Category: MAINTENANCE - NYS OCM

The following SOPs are related to this procedure:

GEN-011: Equipment Calibration - Calibration

CULT-007: Lighting Maintenance - Lighting systems

CULT-008: HVAC Compliance - HVAC maintenance

Note: This SOP is part of a comprehensive cannabis compliance system. SOPs marked "(OTHER STATES)" contain recommendations from other state programs and are suggestions, not NYS OCM requirements.