Standard Operating Procedure: Environmental Monitoring

1.	Purpose

This Standard Operating Procedure establishes guidelines for environmental monitoring in cannabis facilities in compliance with NYS OCM requirements.

2.	Scope

This SOP applies to all environmental monitoring activities at licensed cannabis facilities in New York State.

3.	Prerequisites

• Understanding of environmental parameters
• Training on monitoring equipment
• Knowledge of acceptable ranges
• Familiarity with documentation requirements
• Response procedures training

4.	Responsibilities

Facilities Manager:
• Oversee environmental systems
• Maintain equipment
• Respond to excursions
• Ensure compliance

Monitoring Staff:
• Conduct monitoring
• Document readings
• Report excursions
• Maintain equipment

Quality Assurance:
• Set specifications
• Review data
• Investigate issues
• Approve procedures

5.	Materials

• Temperature monitors
• Humidity sensors
• CO2 monitors
• Air quality monitors
• Data loggers
• Calibration equipment
• Documentation logs

6.	Procedure

6.1 Monitoring Parameters
• Monitor key parameters:
  - Temperature
  - Relative humidity
  - CO2 levels (cultivation)
  - Air quality
  - Light levels
  - Pressure differentials
• Set ranges per area
• Document specifications

6.2 Monitoring Locations
• Strategic placement:
  - Cultivation rooms
  - Drying areas
  - Processing areas
  - Storage rooms
  - Cold storage
• Representative readings
• Document locations

6.3 Monitoring Frequency
• Continuous monitoring preferred
• Minimum manual checks:
  - Every 4 hours (critical areas)
  - Twice daily (other areas)
• Document all readings
• Verify equipment function

6.4 Data Recording
• Record all data:
  - Automatic logging (preferred)
  - Manual logs
  - Date and time
  - Location
  - Parameters
  - Initials
• Retain records
• Trending analysis

6.5 Acceptable Ranges
• Define specifications per area:
  - Cultivation: 68-80°F, 50-70% RH
  - Drying: 60-70°F, 45-55% RH
  - Storage: 60-70°F, 55-65% RH
  - Cold storage: 2-8°C
• Document specifications
• Post at monitoring points

6.6 Excursion Response
• When out of range:
  - Identify immediately
  - Notify appropriate personnel
  - Take corrective action
  - Document excursion
  - Assess impact
• Prevent recurrence
• Document resolution

6.7 Equipment Calibration
• Calibrate regularly:
  - Per manufacturer specs
  - Annual minimum
  - After repair
  - Document calibration
• Use traceable standards
• Maintain records

6.8 Alarm Systems
• Configure alarms:
  - Set thresholds
  - 24/7 notification
  - Multiple contacts
  - Clear response procedures
• Test alarms regularly
• Document tests

6.9 Data Review
• Regular review:
  - Daily checks
  - Weekly trends
  - Monthly analysis
  - Identify patterns
• Report issues
• Drive improvements

6.10 Documentation
• Maintain records:
  - Monitoring logs
  - Calibration records
  - Excursion reports
  - Corrective actions
• Available for audit
• Retain per requirements

7.	References

• NYS OCM Facility Requirements
• GMP Environmental Standards
• Source: https://cannabis.ny.gov/

8.	Definitions

Environmental Monitoring: The systematic measurement and recording of environmental conditions.

Excursion: A deviation from specified environmental parameters.

Data Logger: A device that automatically records environmental measurements over time.

Calibration: Comparing measurement equipment to known standards and adjusting if needed.

Related SOPs and Cross-References

Category: ENVIRONMENT - NYS OCM

The following SOPs are related to this procedure:

CULT-015: Air Quality - Air monitoring

GEN-016: Cold Storage - Temperature monitoring

CULT-009: Dehumidification - Humidity monitoring

Note: This SOP is part of a comprehensive cannabis compliance system. SOPs marked "(OTHER STATES)" contain recommendations from other state programs and are suggestions, not NYS OCM requirements.