Standard Operating Procedure: Water Safety and Quality

1.	Purpose

This SOP establishes procedures for ensuring water used in cannabis cultivation and processing meets safety and quality standards in compliance with NYS environmental regulations and GMP requirements.

2.	Scope

This procedure applies to all water sources and uses at NYS licensed cannabis facilities, including irrigation water, processing water, cleaning water, and water used in product formulation.

3.	Prerequisites

• Knowledge of water source type (municipal, well, other)
• Water testing laboratory relationship
• Understanding of applicable water standards
• Water treatment equipment if needed
• Water quality records system

4.	Responsibilities

• Facility Manager: Oversee water systems; schedule testing
• Quality Assurance: Review test results; approve water use
• Maintenance: Maintain water systems; conduct treatments
• Laboratory: Perform or coordinate water testing
• Compliance: Ensure regulatory requirements are met

5.	Materials and Equipment

• Water sampling containers (sterile)
• Testing laboratory services
• Water treatment systems (as applicable)
• pH and conductivity meters
• Water filters and cartridges
• Temperature monitoring devices
• Water quality log forms

6.	Procedure

1. Water Source Documentation
   a. Identify all water sources used
   b. Document source type (municipal, well, surface)
   c. Obtain water quality reports from provider
   d. Map water distribution in facility
   e. Identify use points and purposes

2. Water Quality Standards by Use
   a. Product Contact Water:
      - Potable water standards at minimum
      - No detectable coliforms
      - Meet formula-specific requirements
   b. Irrigation Water:
      - Suitable for agricultural use
      - Testing per cultivation requirements
   c. Cleaning Water:
      - Potable water standards
      - Appropriate for intended use
   d. Process Water (extraction, etc.):
      - Meet process specifications
      - Free from contaminants

3. Testing Schedule
   a. Municipal water: Annual testing minimum
   b. Well water: Quarterly testing minimum
   c. After any system changes: Immediate testing
   d. Product contact water: Per batch/production run
   e. Following contamination events: Immediate

4. Testing Parameters
   a. Microbiological: Total coliforms, E. coli
   b. Chemical: Heavy metals, pesticides
   c. Physical: pH, turbidity, conductivity
   d. Additional: Per specific use requirements
   e. Document all results

5. Water Treatment
   a. Determine treatment needs based on testing
   b. Install appropriate treatment systems
   c. Maintain treatment equipment
   d. Monitor treatment effectiveness
   e. Document treatment activities

6. Monitoring Procedures
   a. Daily visual inspection of water
   b. Record water temperature
   c. Check treatment system function
   d. Monitor water pressure
   e. Log all observations

7. Non-Conformance Response
   a. Stop use of affected water immediately
   b. Investigate contamination source
   c. Assess impact on products
   d. Implement corrective treatment
   e. Retest before resuming use
   f. Document incident and response

8. Recordkeeping
   a. Maintain water source documentation
   b. File all test results
   c. Log treatment activities
   d. Keep maintenance records
   e. Retain records per policy

7.	References

• 9 NYCRR Part 125.2 (Facility Requirements)
• NYS Sanitary Code Part 5 (Drinking Water)
• EPA Safe Drinking Water Act Standards
• FDA cGMP Water Quality Requirements
• NYS DEC Water Regulations

8.	Definitions

• Potable Water: Water safe for drinking and food contact
• Coliform: Bacteria indicating potential contamination
• Water Treatment: Process to improve water quality
• Product Contact Water: Water that contacts cannabis products
• Conductivity: Measure of water's dissolved mineral content

Related SOPs and Cross-References

Category: ENVIRONMENT - NYS OCM

The following SOPs are related to this procedure:

CULT-012: Water Efficiency - Water conservation

CULT-013: Water Verification - Water testing

GEN-023: Environmental Monitoring - Water monitoring

Note: This SOP is part of a comprehensive cannabis compliance system. SOPs marked "(OTHER STATES)" contain recommendations from other state programs and are suggestions, not NYS OCM requirements.