Standard Operating Procedure: Surveillance Footage Retention and Management

[RECOMMENDATION FROM OTHER STATES]

1.	Purpose

This SOP establishes procedures for surveillance footage retention, storage, and access management based on requirements from Michigan (30-day minimum), California, Colorado, and other state cannabis regulations.

2.	Scope

This procedure applies to all video surveillance systems at NYS licensed cannabis facilities including cultivation, processing, retail, and distribution operations.

3.	Prerequisites

• Video surveillance system installed per regulations
• Adequate digital storage capacity
• Backup systems operational
• Access control for footage
• Staff trained on system operation

4.	Responsibilities

• Security Manager: Oversee surveillance systems; manage access
• IT/Maintenance: Maintain equipment; ensure storage capacity
• Compliance Officer: Verify retention compliance; respond to requests
• Management: Review footage as needed; authorize access
• All Staff: Report system issues; understand camera coverage

5.	Materials and Equipment

• Digital video recording (DVR/NVR) system
• Surveillance cameras (per regulations)
• Storage servers/cloud storage
• Backup storage systems
• Access control system
• Footage review workstations

6.	Procedure

1. Retention Requirements
   a. Minimum retention period: 30 days (Michigan standard)
   b. Extended retention for incidents: 90 days minimum
   c. Regulatory investigation retention: Until case closed
   d. Litigation hold: Indefinite until released
   e. Document all retention policies

2. Storage Capacity Planning
   a. Calculate storage needs:
      - Number of cameras
      - Recording resolution
      - Frames per second
      - Retention period
   b. Maintain 20% buffer capacity
   c. Monitor storage levels weekly
   d. Plan upgrades before reaching capacity
   e. Document storage calculations

3. Recording Requirements
   a. Record continuously (24/7/365)
   b. Minimum resolution per regulations
   c. Date/time stamp on all footage
   d. Camera locations must cover:
      - All entry/exit points
      - Point of sale areas
      - Vault/safe areas
      - Cultivation areas
      - Processing areas
      - Product storage
   e. No blind spots in required areas

4. Access Controls
   a. Limit footage access to authorized personnel
   b. Require unique login credentials
   c. Log all access to footage
   d. Review access logs monthly
   e. Remove access upon termination
   f. Document all access authorizations

5. Footage Review Procedures
   a. Document reason for review
   b. Note date, time, camera reviewed
   c. Record findings
   d. Export relevant clips if needed
   e. Maintain review log
   f. Preserve footage related to incidents

6. Regulatory Request Response (Michigan Requirement)
   a. Provide footage within 24 hours of request
   b. Export in standard viewable format
   c. Include date/time verification
   d. Document request and response
   e. Retain copy of provided footage
   f. Maintain request log

7. Incident-Related Footage
   a. Identify and preserve immediately
   b. Extend retention beyond standard period
   c. Create backup copies
   d. Document chain of custody
   e. Restrict access during investigation
   f. Retain until case fully resolved

8. System Maintenance
   a. Verify recording daily
   b. Test playback weekly
   c. Clean camera lenses monthly
   d. Check storage capacity weekly
   e. Update firmware as needed
   f. Document all maintenance

9. Backup Procedures
   a. Automated backup to secondary storage
   b. Offsite or cloud backup recommended
   c. Verify backup integrity weekly
   d. Test restoration quarterly
   e. Document backup procedures
   f. Maintain backup logs

10. System Failure Response
    a. Notify management immediately
    b. Document failure date/time
    c. Implement temporary measures
    d. Repair/replace within 72 hours
    e. Report extended outages to regulators
    f. Document all actions taken

11. Documentation Requirements
    a. System installation records
    b. Camera location maps
    c. Maintenance logs
    d. Access logs
    e. Review logs
    f. Incident preservation records
    g. Regulatory request responses

7.	References

SOURCE WEBSITES:
• Michigan CRA Surveillance Requirements: https://www.michigan.gov/cra
• California DCC Security Requirements: https://www.cannabis.ca.gov/
• Colorado MED Rules: https://med.colorado.gov/rules
• Washington LCB Requirements: https://lcb.wa.gov/

ADDITIONAL SOURCES:
• Cannabis Security Laws California Compliance Guide (getsafeandsound.com)
• Michigan Cannabis Compliance Guide (Treez)
• Best Practices for CRA Compliance (Scott Roberts Law)

8.	Definitions

• DVR/NVR: Digital/Network Video Recorder
• Retention Period: Length of time footage must be stored
• Litigation Hold: Legal requirement to preserve evidence
• Chain of Custody: Documentation of evidence handling
• Frames Per Second (FPS): Recording speed/quality measure
• Authorized Personnel: Staff approved for footage access

Related SOPs and Cross-References

Category: SECURITY - RECOMMENDATION FROM OTHER STATES

The following SOPs are related to this procedure:

GEN-022: Facility Access Control - NYS access control

CULT-016: Cultivation Security - NYS cultivation security

RET-003: Dispensary Security - NYS retail security

Note: This SOP is part of a comprehensive cannabis compliance system. SOPs marked "(OTHER STATES)" contain recommendations from other state programs and are suggestions, not NYS OCM requirements.